Model V30

- Build in GSM modem

- Working temperature -20 + 60 degrees

- Power 12V

- 5 inputs

- 4 user input zones

- 1 alarm zone

- 1 output – relay 6A/ 240V

- 4 numbers

- SMS

Model V31

- Build in GSM modem

- Working temperature -20 + 60 degrees

- Power 12V

- 8 inputs

- 5 user input zones

- 1 alarm zone

- Analog zone 0-40V

- 3 output – ( 1 relay , 2 open collector )

- 4 numbers

- SMS

- Ringing